## run-notes
CanEX-SM10 Flight Notes
crew: | Toose | [12 empty] | date: _________16-Jun-2010
40345.4856 | Brown, Ramesh | [12 empty] | Flight #: ______22
time | alt (agl) | T/Td | 19V | 19H | 37V | 37H | 89V | 89H | 6.9V | 6.9H | 1.4V | 1.4H | point | Local time = UTC - 6
Prince Albert Airport - BERMS study area Flight 1 - going to attempt 2 flight option today. Flying VFR
High cirrus cloud - with blue skies
- spectrum analyzer antenna hanging in loop near window on port side of aircraft right next to the radiometer operator's seat
40345.4879 | s | [12 empty] | RFI spike at 1.448 - large - and 1.408
40345.4891 | s | [12 empty] | RFI spike at 1.478 | 208
40345.4912 | s | [12 empty] | DAS Time 114715
40345.4958 | s | [12 empty] | Airborne - Take off
some ground fog surrounding airport, bvut already burning off
40345.4976 | s | [12 empty] | saved spectrum analyzer screen - Flight22-1
40345.4979 | s | [12 empty] | cleared spectrum analyzer screen
40345.4986 | 2500 | [12 empty] | climbing altitude
40345.4995 | s | [12 empty] | sundog - some high level cirrus ice crystals - but still lots of blue sky
40345.5002 | 4000 | [12 empty] | climbing altitude
40345.5003 | s | [12 empty] | RFI spike at 1.438
40345.5024 | 6000 | [12 empty] | climbing altitude
approaching boreal forest/farmland transition
40345.5035 | 7000 | [12 empty] | climbing altitude
40345.504 | s | [12 empty] | boreal forest to the south east, but still farmland in rad FOV
40345.5043 | 7700
40345.5047 | 7831 |  | 269 | 262 | 270 | 266 | 274 | 271 | 294 | 257 | 266 | 268 |  | Averaged TBS and RadAlt
40345.5055 | s | [12 empty] | Some forest coming into FOV now | 21320
40345.506 | s | [12 empty] | still patchwork of farm and forest - mainly farmland though
40345.5062 | s | [12 empty] | patchwork to NW and farmland to SE now
40345.5065 | s | [12 empty] | 1.4 cable temps 1/2/3/Avg - 14.3/16/6/16/4/15.8
1.4 Ant Temp 1/2 - 6.3/6.9
40345.5072 | s | [12 empty] | Forest in FOV now - no more farmland
RFI spikes at 1.473(mild), 1.475 (very mild), 1.477(very mild) - and 1.405
1.4GHz have changed dramatically as we pass into forested land - have to change scale on strip chart it's s increasaed so much
40345.509 | s | [12 empty] | Farmland patch - drop in 1.4 TBs
High freqs are relatively flatlined - over forest and farmland
40345.5107 | s | [12 empty] | Patchwork now KT19 at 10C
40345.5115 | s | [12 empty] | saved s[pectrum analyzer screen for transit flight to grid - Flight22(1)
40345.5117 | s | [12 empty] | cleared spectrum analyzer screen
40345.512 | s | [12 empty] | missed starting point doing U-turn to come around back on to track
40345.5127 | s | [11 empty] | BRM01 | Start of Line BRM01 to BRM02
Farmland/Forest patch
Some slight haze - blue skies
40345.5137 | 7731 | [12 empty] | Not averaged -
Overforest
40345.5141 | 7594 |  | 273 | 271 | 275 | 275 | 277 | 276 | 298 | 267 | 271 | 265 |  | All Averaged - Overforest -forest seems to be masking TBS 0- making polarizations come together
40345.5152 | s | [12 empty] | 1.4 Cable Temps 1/2/3/Avg - 10.8,14.5,14.0,13.1
1.4 Ant Temp 1/2 - 3.4/3.8
40345.5162 | s | [12 empty] | RFI spike at 1.405 and 1.438
40345.517 | 7747 |  | 273 | 271 | 276 | 275 | 279 | 278 | 295 | 266 | 268 | 263 |  | All Averaged - KT19 Side / KT19 Down - 8.5/6.8
1.4 Cable Temps 1/2/3/Avg - 10.3/14.2/13.7/12.7
1.4 Ant Temp 1/2 - 3.3/3.7
Ground speed ~130Knots - head wind of ~10knots
40345.5234 | 7739 |  | 268 | 264 | 270 | 267 | 273 | 271 | 293 | 262 | 279 | 268 |  | Some polarization separation here
40345.5241 | s | [12 empty] | Saved spectrum analyzer - Flight22(2)
40345.5243 | s | [12 empty] | Cleared spectrum analyzer screen
40345.5247 | s | [11 empty] | BRM02 | End of Line BRM01 to BRM02
40345.5247 | s | [12 empty] | Entering turn
40345.5253 | s | [12 empty] | RFI spike 1.438 - fairly large
40345.5259 | s | [11 empty] | BRM03 | Start of Line BRM03 to BRM04
40345.5264 | 7440 | [12 empty] | RadAlt - Not averaged
40345.5271 | 7600 |  | 271 | 269 | 274 | 273 | 277 | 276 | 293 | 264 | 265 | 258 |  | All Averaged TBS and RadAlt
40345.5288 | s | [12 empty] | RFI spike at 1.405 and 1.496 - mild
40345.532 | s | [12 empty] | RFI spike at 1.403 (mild)
40345.5324 | 7653 |  | 273 | 270 | 276 | 275 | 279 | 278 | 297 | 263 | 262 | 253 |  | All Averaged - KT19 Side / KT19 Down - 10.2/8.4
1.4 Cable Temps 1/2/3/Avg - 8.4/12.0/11.4/10.6
1.4 Ant Temp 1/2 - 3.5/3.9
Blue skies - with some high cirrus cloud
40345.537 | s | [12 empty] | Saved spectrum analyzer - Flight22(3)
40345.5371 | s | [12 empty] | Cleared spectrum analyzer screen
40345.5368 | s | [11 empty] | BRM04 | End of Line BRM03 to BRM04
40345.537 | s | [12 empty] | Entering turn
40345.5378 | s | [11 empty] | BRM05 | Start of Line BRM05 to BRM06
40345.5394 | 7720 | [12 empty] | RadAlt - Not averaged
40345.5397 | 7671 |  | 276 | 273 | 278 | 277 | 280 | 279 | 294 | 268 | 279 | 279 |  | All Averaged - KT19 Side / KT19 Down - 11.9/9.0
1.4 Cable Temps 1/2/3/Avg - 9.4/12.8/12.2/11.4
1.4 Ant Temp 1/2 - 3.6/3.9
40345.5379 | s | [12 empty] | RFI spike at 1.438
40345.5391 | s | [12 empty] | RFI spike at 1.438 - a little larger
40345.5416 | s | [12 empty] | RFI 1.425, and mild one at 1.468
40345.5438 | s | [12 empty] | RFI 1.445 (mild)
40345.549 | 7543 |  | 275 | 272 | 277 | 277 | 280 | 279 | 295 | 267 | 284 | 267 |  | All Averaged - KT19 Side / KT19 Down - 12.7/10.7
1.4 Cable Temps 1/2/3/Avg - 9.0/13.3.12.7/11.6
1.4 Ant Temp 1/2 - 2.7/3.0
40345.5499 | s | [11 empty] | BRM06 | End of Line BRM07
40345.5499 | s | [12 empty] | Enterin into Turn
40345.55 | s | [12 empty] | Saved sepctrrum analyzer - Flight22(4)
40345.5502 | s | [12 empty] | Cleared spectrum Analyzer screen
40345.5507 | s | [11 empty] | BRM07 | Start of Line BRM07 to BRM08
40345.5537 | 7900 | [12 empty] | RadAlt - Not averaged
40345.5541 | 7850 |  | 273 | 264 | 276 | 270 | 280 | 277 | 294 | 253 | 259 | 245 |  | All Averaged - KT19 Side / KT19 Down - 13.0/10.0 - Seeing some separation of polarizations at 1.4
1.4 Cable Temps 1/2/3/Avg - 8.3/13.3/12.6/11.4
1.4 Ant Temp 1/2 - 3.0/3.4
40345.5552 | s | [12 empty] | dropping 1.4 (lake?) and then return to "normal range" - separation of polarizations decreasing
40345.5559 | s | [12 empty] | Rfi spikes at 1.405 (mild), 1.438
40345.5563 | s | [12 empty] | dropping 1.4 (lake) then return to "normal range" - separation of polarizations increasing again back to where is was before
40345.5617 | s | [12 empty] | Saved spectrum analyzer - Flight22(5)
40345.5618 | s | [12 empty] | Cleared spectrum analyzer screen
40345.5614 | s | [11 empty] | BRM08 | End of Line BRM07 to BRM08
40345.5615 | s | [12 empty] | Entering turn
40345.5624 | s | [11 empty] | BRM09 | Start of Line BRM09 to BRM10
40345.5627 | 7640 | [12 empty] | RadAlt - Not averaged
40345.5629 | 7643 |  | 274 | 272 | 276 | 276 | 279 | 277 | 291 | 268 | 270 | 260 |  | All Averaged - KT19 Side / KT19 Down - 13.8/10.4 - some separation of 1.4 here but decreasing
1.4 Cable Temps 1/2/3/Avg - 8.0/13.5/12.8/11.5
1.4 Ant Temp 1/2 - 3.3/3.7
40345.5647 | 7587 |  | 277 | 275 | 279 | 278 | 281 | 281 | 298 | 271 | 272 | 277 |  | All Averaged - KT19 Side / KT19 Down - 13.8/10.4 - Not seeing as much separation of 1.4 here
more noise at 1.4V here then on previous lines and compared to H channel
40345.5659 | s | [12 empty] | Clear Blue skies - with some high cirrus - slightly hazy still
40345.5669 | s | [9 empty] | 277 | 329 |  | 1.4V channel jumping and noisy compared to 1.4H - some farm fields - No RFI noted???
40345.5678 | s | [12 empty] | 1.4V coming back down
40345.5688 | s | [12 empty] | 1.4V back to "normal" same range as 1.4H
40345.5697 | [13 empty] | Drop in high freqs and 6.9H - (Lake?)
40345.5744 | s | [11 empty] | BRM10 | End of Line - BRM09 to BRM10
40345.5745 | s | [12 empty] | Entering Turn
40345.5746 | ss | [12 empty] | Spectrum analyzer screen saved - Flight22(6)
40345.5747 | sa | [12 empty] | Spectrum analyzer screen cleared
40345.5754 | s | [11 empty] | BRM11 | Start of Line BRM11 to BRM12
40345.5755 | 7300 | [12 empty] | Radalt not averaged
40345.5771 | 7650 | [12 empty] | Radalt not averaged
40345.5774 | s |  | 273 | 270 | 274 | 272 | 276 | 275 | 295 | 267 | 267 | 261 |  | All Averaged - KT19 Side / KT19 Down - 13.1/11.3
1.4 Cable Temps 1/2/3/Avg - 7.9/13.8/13.1/11.6
1.4 Ant Temp 1/2 - 2.4/2.8
Clear Blue skies - with some high cirrus - haze increasing slightly
less noise in the 1.4 with some separation of H and V
40345.5829 | s | [12 empty] | Video tape popped out
40345.5847 | s | [12 empty] | Video taped replaced
40345.5852 | s | [12 empty] | some mild RFI at 1.405, 1.410, and 1.496
40345.5864 | s | [12 empty] | Saved spectrum analyzer - Flight22(7)
40345.5865 | s | [12 empty] | Cleared spectrum analyzer screen
40345.5862 | s | [11 empty] | BRM12 | End of Line BRM11 to BRM12
40345.5863 | s | [12 empty] | Entering turn
40345.587 | s | [11 empty] | BRM13 | Start of Line BRM13 to BRM14
40345.5873 | 7750 | [12 empty] | Radalt not averaged
40345.5875 | 7751 |  | 277 | 267 | 279 | 274 | 283 | 280 | 295 | 251 | 274 | 278 |  | All Averaged - KT19 Side / KT19 Down - 16.2/13.0
40345.5878 | s | [12 empty] | noting 1.4V jumping dramatically again!
40345.5886 | s |  | 268 | 255 | 271 | 259 | 279 | 271 | 293 | 250 | 274 | 426 |  | All Averaged - Weird - 1.4H had much higher value, but on strip chart It was 1.4V that was higher???
40345.5898 | s |  | 277 | 274 | 280 | 279 | 283 | 282 | 296 | 266 | 268 | 268 |  | All Averaged
40345.5904 | s | [12 empty] | RFI spikes at 1.405, 1.438 (high)
40345.5908 | s | [9 empty] | 276 | 318 |  | 1.4V channel is quite high
40345.5939 | [13 empty] | 1.4RFI at both V and H - off the strip chart
40345.5943 | s | [12 empty] | RFI spike at 1.449
40345.5967 | s | [9 empty] | 292 | 449 |  | 1.4V is off the chart
40345.5993 | s | [12 empty] | Saved spectrum analyzer - Flight22(8)
40345.5994 | s | [12 empty] | Cleared spectrum analyzer screen
40345.599 | s | [11 empty] | BRM14 | End of Line BRM13 to BRM14
40345.5991 | s | [12 empty] | Entering turn
40345.5999 | s | [11 empty] | BRM15 | Start of Line BRM15 to BRM16
40345.6 | 7500 | [12 empty] | Radalt not averaged
40345.6006 | 7742 |  | 279 | 277 | 282 | 281 | 284 | 283 | 293 | 271 | 306 | 315 |  | All Averaged - KT19 Side / KT19 Down - 15.0/15.1
1.4 Cable Temps 1/2/3/Avg - 7.7/14.2/13.3/11.7
1.4 Ant Temp 1/2 - 1.8/2.2
A lot of noise in both H and V 1.4 channels and RFI ~50K in H channel, cannot see V channel (off chart)
40345.6029 | s | [9 empty] | 321 | 434 |  | 1.4GHz only
40345.6032 | s | [12 empty] | Do not see any signifcant RFI on spectrum analyzer! Small bit at 1.438 and 1.49
40345.6065 | 7800 | [9 empty] | 342 | 310 |  | 1.4GHz only
40345.6081 | s | [12 empty] | Only minor amounts of RFI on spectrum analyzer - 1.438
40345.6088 | 7684 |  | 279 | 277 | 282 | 282 | 285 | 284 | 294 | 271 | 276 | 266 |  | All Averaged - KT19 Side / KT19 Down - 15.6/14.6
1.4GHz noise and RFI seems to have leveled off about 2 mins ago
40345.6103 | s | [12 empty] | Saved spectrum analyzer - Flight22(9)
40345.6104 | s | [12 empty] | Cleared spectrum analyzer screen
40345.6106 | s | [11 empty] | BRM16 | End of Line BRM15 to BRM16
40345.6106 | s | [12 empty] | Entering turn
40345.6115 | s | [11 empty] | BRM17 | Start of Line BRM17 to BRM18
40345.6117 | 7550 | [12 empty] | Radalt not averaged
40345.6117 | s | [12 empty] | Some RFI at 1.405
40345.6125 | 7760 |  | 273 | 265 | 278 | 272 | 283 | 279 | 292 | 261 | 290 | 3385 |  | All Averaged - KT19 Side / KT19 Down
40345.6142 | 7764 | [9 empty] | 299 | 3301 |  | All Averaged - KT19 Side / KT19 Down - 18.3/15.7
1.4 Cable Temps 1/2/3/Avg - 8.1/14.3/13.4/11.9
1.4 Ant Temp 1/2 - 3.0/3.4
40345.6159 | s | [10 empty] | 4450 |  | Insane 1.4H measurements right now - but strip chart is displaying reasonable values???
strip chart values are reversed - Channel labelled as V is actually H according to data input screen
40345.6213 | 7530 | [9 empty] | 376 | 2105 |  | All Averaged
40345.6232 | s | [12 empty] | Saved spectrum analyzer screen - Flight22(10)
40345.6234 | s | [12 empty] | Cleared spectrum analyzer screen
40345.6234 | s | [11 empty] | BRM18 | End of Line BRM17 to BRM18
40345.6235 | s | [12 empty] | Starting turn
40345.6241 | s | [11 empty] | BRM19 | Starting Line BRM19 to BRM20
40345.6249 | 7560 | [12 empty] | RadAlt not averaged
40345.6253 | 7631 |  | 280 | 276 | 282 | 280 | 284 | 282 | 296 | 271 | 319 | 555 |  | All Averaged - KT19 Side / KT19 Down - 17.3/17.8
1.4 Cable Temps 1/2/3/Avg - 7.6/14.2/13.3/11.7
1.4 Ant Temp 1/2 - 2.0/2.4
Few cirrus and 20K and 33K - still hazy, not completely blue anymore - still excellent vis ~40K)
40345.6309 | s | [12 empty] | RFI spike at 1.438 noted
40345.6339 | s | [9 empty] | 283 | 1474 |  | 1.4GHz only - Averaged
40345.6348 | s | [12 empty] | Saved spectrum analyzer screen - Flight22(11)
40345.6349 | s | [12 empty] | Cleared spectrum analyzer screen
40345.6348 | s | [11 empty] | BRM20 | End of Line BRM19 to BRM20
40345.6349 | s | [12 empty] | Starting turn
40345.6352 | 7735 | [12 empty] | Transiting to BRM21
40345.6363 | s | [12 empty] | RFI spikes at 1.405 and 1.438
40345.6366 | 7849 |  | 278 | 264 | 281 | 272 | 284 | 281 | 293 | 255 | 251 | 264 |  | All Averaged - KT19 Side/Down - 18.4/16.8 - 1.4 GHz values look realistic
40345.6401 | s | [12 empty] | Saved spectrum analyzer screen - Flight22(12)
40345.6404 | s | [12 empty] | Cleared spectrum analyzer screen
40345.6404 | s | [12 empty] | Turning
40345.641 | s | [12 empty] | Missed beginning - going around again
40345.6415 | s | [12 empty] | RFI spikes at 1.438, 1.443
40345.6425 | [13 empty] | Cleared spectrum analyzer screen
40345.6425 | s | [11 empty] | BRM21 | Start Line BRM21 to BRM22
Flying 1.2NM offset - radiometer measurements of line
40345.6435 | 7730 | [12 empty] | RadAlt not averaged
40345.6437 | 7752 |  | 282 | 280 | 285 | 284 | 287 | 287 | 296 | 272 | 282 | 271 |  | All Averaged - KT19 Side / KT19 Down - 19.9/17.2
40345.6451 | s | [9 empty] | 276 | 321 |  | All Averaged - 1.4GHz Only - vertical channel starting to get RFI again
40345.6458 | s | [12 empty] | RFI spike (large) noted at 1.438
40345.6469 | 7627 | [9 empty] | 492 | 453 |  | All Averaged - 1.4GHz Only - vertical channel starting to get RFI again
40345.6475 | s | [11 empty] | BRM22 | End of Line BRM21 to BRM22
40345.6476 | s | [12 empty] | Entering into Turn
40345.6479 | s | [12 empty] | RFI spike at 1.473
40345.648 | s | [12 empty] | Saved spectrum analyzer screen - Flight22(13)
40345.6487 | s | [12 empty] | descending to Lake run
40345.6494 | s | [12 empty] | Not enough fuel to fly lake turns and straight and level - heading back to PA
Decided to conduct lake turns over Candle Lake at 40 and 60 degrees while flying at approx 5000ft.
40345.6529 | s |  | 159 | 117 | 179 | 135 |  |  | 252 | 100 | 163 | 138 | 40 degrees | Start Turn KT19 Side/Down both approx 14.0
40345.6533 | 5150 |  | 132 | 130 | 152 | 149 |  |  | 246 | 117 | 154 | 147 | 60 degrees | Start turn KT19 Side/Down - 14.3 13.4
40345.6544 | 4874 |  | 179 | 112 | 198 | 128 | 240 | 179 | 259 | 95 | 189 | 147 |  | Heading back towards PA - Will get straight and level over lake - KT19 Side/Down - 14.0/13.3
40345.655 | s | [12 empty] | End straight and level over Lake
40345.6562 | s | [12 empty] | RFI spike at 1.405 and 1.438 and 1.443
40345.6604 | s | [12 empty] | RFI spike at 1.437
40345.6644 | s | [12 empty] | RFI spikes at 1.49 (large)
40345.6675 | s | [12 empty] | Touchdown
40345.6687 | s | [12 empty] | Saved spectrum analyzer screen - Flight22(14)

## problems
CanEX-SM10 Notes and Problems
crew: | TOOSE | date: _________16-Jun-2010
Flight #: ______n/a
fml 1520, fml 83
time | stamp | Problems
40345.5913 | s | Had to cycle power on RadAlt to get it to start reading again
208
s
40345.6201 | s | Noted that either the strip chart or data display screen has 1.4V and 1.4H channels mislabelled. Data display screen indicates H channel is saturating in 3000K range, while strip chart indicates V channel is saturating in the 3000K range
21320

## BERMS Low Alt XY-DDs -2 Fli (2)
Saskatoon Airport to Prince Albert Airport
Flight Description | Transit flights between Saskatoon and Prince Albert | Straight Line Distance - No Turns (km) | Straight Line Distance - No Turns (NM) |  |  | Number of Turns |  | Time/turn | Total Turn Time | [6 empty] | Number of Turns |  | Time/turn | Total Turn Time | Total Air Time
|  | 136 | 73.4341 |  |  | 0 |  | 0 | 0 | [6 empty] | 0 |  | 0 | 0 | 0.66745
|  |  | Flight Segment Length (NM) | Start Point (decimal degrees) |  |  | End Point (decimal degrees) |  |  | Start Point (degrees/decimal minutes) |  |  |  |  | End Point (degrees/decimal minutes) |  |  |  |  | Segment Air Time | Nautical Mile Offset | GPS Altitude (ft)
| Flight Segment Description | Segment Length (km) |  | Start Latitude (N) | Start Longitude (W) | Name | End Latitude (N) | End Longitude (W) | Name | Latitude (N) |  | Longitude (W) |  | Name | Latitude (N) |  | Longitude (W) |  | Name
[10 empty] | Deg. | Min. | Deg. | Min. |  | Deg. | Min. | Deg. | Min.
Flight Segment 1 | Transit Flight - YXE to YPA | 136 | 73.4341 | 52.1667 | -106.68 | YXE | 53.6419 | -104.9763 | YPA | 52 | 10 | -106 | -40.8 | YXE | 53 | 38.5131 | -104 | -58.5763 | YPA | 0.66745 | - | -
Note: Aircraft ground speed is 56.6m/sec OR 203.7 km/hr OR 110NM/hr
*Note: All times are in hours | [18 empty] | TOTAL FLIGHT AIR TIME | 0.66745
Prince Albert Airport to Prince Albert Airport
Flight Description | BERMS Study Area Flight #1 | Straight Line Distance - No Turns (km) | Straight Line Distance - No Turns (NM) |  |  | Number of Turns |  | Time/turn | Total Turn Time | [6 empty] | Number of Turns |  | Time/turn | Total Turn Time | Total Air Time
Altitude 2341m (7,680 ft)
BERMS Study 33-71km study area |  | 873 | 471.3823 |  |  | 9 |  | 0.04 | 0.36 | [6 empty] | 9 |  | 0.04 | 0.36 | 4.6445
IFOV 1384-2187 x 2252
|  |  | Flight Segment Length (NM) | Start Point (decimal degrees) |  |  | End Point (decimal degrees) |  |  | Start Point (degrees/decimal minutes) |  |  |  |  | End Point (degrees/decimal minutes) |  |  |  |  | Segment Air Time | Nautical Mile Offset | GPS Altitude (ft)
| Flight Segment Description | Segment Length (km) |  | Start Latitude (N) | Start Longitude (W) | Name | End Latitude (N) | End Longitude (W) | Name | Latitude (N) |  | Longitude (W) |  | Name | Latitude (N) |  | Longitude (W) |  | Name
[10 empty] | Deg. | Min. | Deg. | Min. |  | Deg. | Min. | Deg. | Min.
Flight Segment 1 | Transit Flight - YPA to BRM01 | 88 | 47.5162 | 53.6419 | -104.9763 | YPA | 53.5995 | -104.5471 | BRM01 | 53 | 38.5131 | -104 | -58.5763 | YPA | 53 | 35.9725 | -104 | -32.8248 | BRM01 | 0.43188 | - | -
Flight Segment 2 | Science Flight - BRM01 to BRM02 | 71 | 38.3369 | 53.5995 | -104.5471 | BRM01 | 54.2265 | -104.3663 | BRM02 | 53 | 35.9725 | -104 | -32.8248 | BRM01 | 54 | 13.5923 | -104 | -21.975 | BRM02 | 0.34845 | 1.2 | 7680
Flight Segment 3 | Science Flight - BRM03 to BRM04 | 71 | 38.3369 | 54.2234 | -104.3349 | BRM03 | 53.5964 | -104.5162 | BRM04 | 54 | 13.4031 | -104 | -20.0957 | BRM03 | 53 | 35.7861 | -104 | -30.9726 | BRM04 | 0.34845 | 1.2 | 7680
Flight Segment 4 | Science Flight - BRM05 to BRM06 | 71 | 38.3369 | 53.6057 | -104.6088 | BRM05 | 54.2328 | -104.4289 | BRM06 | 53 | 36.3438 | -104 | -36.53 | BRM05 | 54 | 13.9693 | -104 | -25.7344 | BRM06 | 0.34845 | 1.2 | 7680
Flight Segment 5 | Science Flight - BRM07 to BRM08 | 71 | 38.3369 | 54.2297 | -104.3976 | BRM07 | 53.6026 | -104.578 | BRM08 | 54 | 13.781 | -104 | -23.8546 | BRM07 | 53 | 36.1584 | -104 | -34.6773 | BRM08 | 0.34845 | 1.2 | 7680
Flight Segment 6 | Science Flight - BRM09 to BRM10 | 71 | 38.3369 | 53.6119 | -104.6706 | BRM09 | 54.2391 | -104.4916 | BRM10 | 53 | 36.7132 | -104 | -40.2363 | BRM09 | 54 | 14.3444 | -104 | -29.495 | BRM10 | 0.34845 | 1.2 | 7680
Flight Segment 7 | Science Flight - BRM11 to BRM12 | 71 | 38.3369 | 54.236 | -104.4602 | BRM11 | 53.6088 | -104.6397 | BRM12 | 54 | 14.1571 | -104 | -27.6146 | BRM11 | 53 | 36.5287 | -104 | -38.3831 | BRM12 | 0.34845 | 1.2 | 7680
Flight Segment 8 | Science Flight - BRM13 to BRM14 | 71 | 38.3369 | 53.618 | -104.7324 | BRM13 | 54.2453 | -104.5543 | BRM14 | 53 | 37.0807 | -104 | -43.9437 | BRM13 | 54 | 14.7174 | -104 | -33.2568 | BRM14 | 0.34845 | 1.2 | 7680
Flight Segment 9 | Science Flight - BRM15 to BRM16 | 71 | 38.3369 | 54.2422 | -104.5229 | BRM15 | 53.615 | -104.7015 | BRM16 | 54 | 14.5311 | -104 | -31.3758 | BRM15 | 53 | 36.8972 | -104 | -42.0899 | BRM16 | 0.34845 | 1.2 | 7680
Flight Segment 10 | Science Flight - BRM17 to BRM18 | 71 | 38.3369 | 53.6241 | -104.7942 | BRM17 | 54.2515 | -104.617 | BRM18 | 53 | 37.4463 | -104 | -47.6522 | BRM17 | 54 | 15.0886 | -104 | -37.0197 | BRM18 | 0.34845 | 1.2 | 7680
Flight Segment 11 | Science Flight - BRM19 to BRM20 | 71 | 38.3369 | 54.2484 | -104.5856 | BRM19 | 53.6211 | -104.7633 | BRM20 | 54 | 14.9033 | -104 | -35.1381 | BRM19 | 53 | 37.2637 | -104 | -45.7978 | BRM20 | 0.34845 | 1.2 | 7680
Flight Segment 12 | Transit Flight - BRM20 to YPA | 75 | 40.4968 | 53.6211 | -104.7633 | BRM20 | 53.6419 | -104.9763 | YPA | 53 | 37.2637 | -104 | -45.7978 | BRM20 | 53 | 38.5131 | -104 | -58.5763 | YPA | 0.36808 | - | -
Note: Aircraft ground speed is 56.6m/sec OR 203.7 km/hr OR 110NM/hr
*Note: All times are in hours | [18 empty] | TOTAL FLIGHT AIR TIME | 4.6445
0.040hrs = 2.4min = 1 Grid flight turn
Prince Albert Airport to Prince Albert Airport
Flight Description | BERMS Study Area Flight #2 | Straight Line Distance - No Turns (km) | Straight Line Distance - No Turns (NM) |  |  | Number of Turns |  | Time/turn | Total Turn Time | [6 empty] | Number of Turns |  | Time/turn | Total Turn Time | Total Air Time
Altitude 2341m (7,680 ft)
BERMS Study 33-71km study area |  | 810 | 437.365 |  |  | 10 |  | 0.04 | 0.4 | [6 empty] | 10 |  | 0.04 | 0.4 | 4.3753
IFOV 1384-2187 x 2252
|  |  | Flight Segment Length (NM) | Start Point (decimal degrees) |  |  | End Point (decimal degrees) |  |  | Start Point (degrees/decimal minutes) |  |  |  |  | End Point (degrees/decimal minutes) |  |  |  |  | Segment Air Time |  | GPS Altitude (ft)
| Flight Segment Description | Segment Length (km) |  | Start Latitude (N) | Start Longitude (W) | Name | End Latitude (N) | End Longitude (W) | Name | Latitude (N) |  | Longitude (W) |  | Name | Latitude (N) |  | Longitude (W) |  | Name
[10 empty] | Deg. | Min. | Deg. | Min. |  | Deg. | Min. | Deg. | Min.
Flight Segment 1 | Transit Flight - YPA to BRM21 | 75 | 40.4968 | 53.6419 | -104.9763 | YPA | 53.811 | -105.167 | BRM21 | 53 | 38.5131 | -104 | -58.5763 | YPA | 53 | 48.6575 | -105 | -10.0205 | BRM21 | 0.36808 | - | -
Flight Segment 2 | Science Flight - BRM21 to BRM22 | 30 | 16.1987 | 53.811 | -105.167 | BRM21 | 54.0721 | -105.0938 | BRM22 | 53 | 48.6575 | -105 | -10.0205 | BRM21 | 54 | 4.3261 | -105 | -5.6298 | BRM22 | 0.14723 | 1.2 | 7680
Flight Segment 3 | Transit Flight - BRM22 to BRM19 | 38 | 20.5184 | 54.0721 | -105.0938 | BRM22 | 54.2484 | -104.5856 | BRM19 | 54 | 4.3261 | -105 | -5.6298 | BRM22 | 54 | 14.9033 | -104 | -35.1381 | BRM19 | 0.18649 | 1.2 | 7680
Flight Segment 4 | Repeat Science Flight - BRM19 to BRM20 | 71 | 38.3369 | 54.2484 | -104.5856 | BRM19 | 53.6211 | -104.7633 | BRM20 | 54 | 14.9033 | -104 | -35.1381 | BRM19 | 53 | 37.2637 | -104 | -45.7978 | BRM20 | 0.34845 | 1.2 | 7680
Flight Segment 5 | Science Flight - BRM23 to BRM24 | 71 | 38.3369 | 53.6302 | -104.856 | BRM23 | 54.2576 | -104.6797 | BRM24 | 53 | 37.8099 | -104 | -51.3617 | BRM23 | 54 | 15.4578 | -104 | -40.7837 | BRM24 | 0.34845 | 1.2 | 7680
Flight Segment 6 | Science Flight - BRM25 to BRM26 | 71 | 38.3369 | 54.2546 | -104.6484 | BRM25 | 53.6271 | -104.8251 | BRM26 | 54 | 15.2734 | -104 | -38.9015 | BRM25 | 53 | 37.6283 | -104 | -49.5068 | BRM26 | 0.34845 | 1.2 | 7680
Flight Segment 7 | Science Flight - BRM27 to BRM28 | 71 | 38.3369 | 53.6362 | -104.9179 | BRM27 | 54.2638 | -104.7425 | BRM28 | 53 | 38.1717 | -104 | -55.0723 | BRM27 | 54 | 15.825 | -104 | -44.5488 | BRM28 | 0.34845 | 1.2 | 7680
Flight Segment 8 | Science Flight - BRM29 to BRM30 | 71 | 38.3369 | 54.2607 | -104.7111 | BRM29 | 53.6332 | -104.8869 | BRM30 | 54 | 15.6416 | -104 | -42.6661 | BRM29 | 53 | 37.991 | -104 | -53.2169 | BRM30 | 0.34845 | 1.2 | 7680
Flight Segment 9 | Science Flight - BRM31 to BRM32 | 71 | 38.3369 | 53.6422 | -104.9797 | BRM31 | 54.2698 | -104.8053 | BRM32 | 53 | 38.5315 | -104 | -58.784 | BRM31 | 54 | 16.1903 | -104 | -48.3151 | BRM32 | 0.34845 | 1.2 | 7680
Flight Segment 10 | Science Flight - BRM33 to BRM34 | 71 | 38.3369 | 54.2668 | -104.7739 | BRM33 | 53.6392 | -104.9488 | BRM34 | 54 | 16.0079 | -104 | -46.4318 | BRM33 | 53 | 38.3518 | -104 | -56.928 | BRM34 | 0.34845 | 1.2 | 7680
Flight Segment 11 | Transit Flight - BRM34 to BRM21 | 25 | 13.4989 | 53.6392 | -104.9488 | BRM34 | 53.811 | -105.167 | BRM21 | 53 | 38.3518 | -104 | -56.928 | BRM34 | 53 | 48.6575 | -105 | -10.0205 | BRM21 | 0.12269 | 1.2 | 7680
Flight Segment 12 | Science Flight - BRM21 to BRM22 | 30 | 16.1987 | 53.811 | -105.167 | BRM21 | 54.0721 | -105.0938 | BRM22 | 53 | 48.6575 | -105 | -10.0205 | BRM21 | 54 | 4.3261 | -105 | -5.6298 | BRM22 | 0.14723 | 1.2 | 7680
Flight Segment 13 | Transit Flight - BRM22 to BRM35 | 28 | 15.1188 | 54.0721 | -105.0938 | BRM22 | 53.8939 | -105.3828 | BRM35 | 54 | 4.3261 | -105 | -5.6298 | BRM22 | 53 | 53.6343 | -105 | -22.969 | BRM35 | 0.13742 | 1.2 | 7680
Flight Segment 14 | Science Flight - BRM35 to BRM36 | 18 | 9.7192 | 53.8939 | -105.3828 | BRM35 | 53.766 | -105.2358 | BRM36 | 53 | 53.6343 | -105 | -22.969 | BRM35 | 53 | 45.9595 | -105 | -14.1467 | BRM36 | 0.088339 | 0.1 | 640
Flight Segment 15 | Transit Flight - BRM36 to YPA | 69 | 37.257 | 53.766 | -105.2358 | BRM36 | 53.6419 | -104.9763 | YPA | 53 | 45.9595 | -105 | -14.1467 | BRM36 | 53 | 38.5131 | -104 | -58.5763 | YPA | 0.33863 | - | -
Note: Aircraft ground speed is 56.6m/sec OR 203.7 km/hr OR 110NM/hr
*Note: All times are in hours | [18 empty] | TOTAL FLIGHT AIR TIME | 4.3753
0.040hrs = 2.4min = 1 Grid flight turn
Prince Albert Airport to Saskatoon Airport
Flight Description | Transit flights between Saskatoon and Prince Albert | Straight Line Distance - No Turns (km) | Straight Line Distance - No Turns (NM) |  |  | Number of Turns |  | Time/turn | Total Turn Time | [6 empty] | Number of Turns |  | Time/turn | Total Turn Time | Total Air Time
|  | 136 | 73.4341 |  |  | 0 |  | 0 | 0 | [6 empty] | 0 |  | 0 | 0 | 0.66745
|  |  | Flight Segment Length (NM) | Start Point (decimal degrees) |  |  | End Point (decimal degrees) |  |  | Start Point (degrees/decimal minutes) |  |  |  |  | End Point (degrees/decimal minutes) |  |  |  |  | Segment Air Time |  | GPS Altitude (ft)
| Flight Segment Description | Segment Length (km) |  | Start Latitude (N) | Start Longitude (W) | Name | End Latitude (N) | End Longitude (W) | Name | Latitude (N) |  | Longitude (W) |  | Name | Latitude (N) |  | Longitude (W) |  | Name
[10 empty] | Deg. | Min. | Deg. | Min. |  | Deg. | Min. | Deg. | Min.
Flight Segment 1 | Transit Flight - YPA to YXE | 136 | 73.4341 | 53.6419 | -104.9763 | YPA | 52.1667 | -106.68 | YXE | 53 | 38.5131 | -104 | -58.5763 | YPA | 52 | 10 | -106 | -40.8 | YXE | 0.66745 | - | -
Note: Aircraft ground speed is 56.6m/sec OR 203.7 km/hr OR 110NM/hr
*Note: All times are in hours | [18 empty] | TOTAL FLIGHT AIR TIME | 0.66745
[9 empty] | Total air time including transit from Saskatoon and 2 science flights | [9 empty] | TOTAL DAY AIR TIME | 10.3546

## footprint-calc
offset | 1.2
angle | 40
altitude-calc | 8695.3978
or
alt-agl-ft | 7660
angle | 40 | at 55 deg | at 25 deg | swath-nm | swath-km
offset-nm-calc | 1.0571 | 1.8 | 0.58 | 1.22 | 2.257
7551.2665

## hours
|  |  |  | hours | x1.5 | x2 | extended | cum
2010-05-29 | Saturday
2010-05-30 | Sunday | 14:00 | 21:00 | 7:00 | 3 | 0 | 4.5 | 4.5
2010-05-31 | Monday | 7:30 | 16:30 | 9:00 | 1.5 | 0 | 2.25 | 6.75
2010-06-01 | Tuesday | 7:30 | 18:00 | 10:30 | 3 | 0 | 4.5 | 11.25
2010-06-02 | Wednesday | 3:00 | 16:30 | 13:30 | 6 | 0 | 9 | 20.25
2010-06-03 | Thursday | 3:00 | 16:30 | 13:30 | 6 | 0 | 9 | 29.25
2010-06-04 | Friday | 8:00 | 20:00 | 12:00 | 4.5 | 0 | 6.75 | 36
2010-06-05 | Saturday | 3:00 | 15:30 | 12:30 | 8 | 4.5 | 21 | 57
2010-06-06 | Sunday | 3:00

## Toose-offsets
Nautical Mile Offset: Flight Path from Swath Centreline | NRC Aircraft Flying Heights (ft): | NRC Aircraft Flying Heights (m): | 1.4GHz
|  |  | Approx. IFOV: (m) width x length | Distance (m): Flight Path to Footprint Edge | Distance (m): Flight Path to Footprint Centre
0.1 | 640 | 195.1 | 115-182 x 188 | 91 | 185
0.2 | 1280 | 390.2 | 231-365 x 375 | 182 | 369.5
0.3 | 1920 | 585.3 | 346-547 x 563 | 273 | 554.5
0.4 | 2560 | 780.4 | 461-729 x 751 | 364 | 739.5
0.5 | 3200 | 975.5 | 577-911 x 938 | 455 | 924
0.6 | 3840 | 1170.6 | 692-1094 x 1126 | 546 | 1109
0.7 | 4480 | 1365.7 | 808-1276 x 1314 | 637 | 1294
0.8 | 5120 | 1560.8 | 923-1458 x 1501 | 728 | 1478.5
0.9 | 5760 | 1755.9 | 1038-1641 x 1689 | 819 | 1663.5
1 | 6400 | 1951 | 1154-1823 x 1877 | 910 | 1848.5
1.1 | 7040 | 2146.1 | 1269-2005 x 2064 | 1001 | 2033
1.2 | 7680 | 2341.2 | 1384-2187 x 2252 | 1092 | 2218
1.3 | 8320 | 2536.3 | 1500-2370 x 2440 | 1183 | 2403
1.4 | 8960 | 2731.4 | 1615-2552 x 2627 | 1274 | 2587.5
1.5 | 9600 | 2926.5 | 1730-2734 x 2815 | 1365 | 2772.5
1.6 | 10240 | 3121.6 | 1846-2917 x 3002 | 1456 | 2957
1.7 | 10880 | 3316.7 | 1961-3099 x 3190 | 1547 | 3142
1.8 | 11520 | 3511.8 | 2077-3281 x 3378 | 1638 | 3327
1.9 | 12160 | 3706.9 | 2192-3463 x 3565 | 1729 | 3511.5
2 | 12800 | 3902 | 2307-3646 x 3753 | 1820 | 3696.5
2.1 | 13440 | 4097.1 | 2423-3828 x 3941 | 1911 | 3881.5