## run-notes
CanEX-SM10 Flight Notes
crew: | STRAPP | [12 empty] | date: _________2-Jun-2010a
| Giles, Kissmann, Srinivasan, O'Connor | [12 empty] | Flight #: ______6
time | alt (msl) | T/Td | 19V | 19H | 37V | 37H | 89V | 89H | 6.9V | 6.9H | 1.4V | 1.4H | point | Local time = UTC - 6
early morning flight, clear blue skies, will do the entire grid, running on cf=1475, narrrow
40331.4786 | [13 empty] | DAS time = 11:29:10
running radaralt, but only to terminal window
40331.4811 | [13 empty] | takeoff Saskatoon, blue skies
40331.4829 | 2000 | 11 | [10 empty] | to KEN01 | some low level cloud to west | 208
40331.4873 | 7500 | -3 | 260 | 251 | 259 | 248 | 279 | 276 | 339 | 250 | 253 | 232 |  | level, setting up spectrum analyzer
40331.4975 | 9700 | -3 | 256 | 236 | 250 | 219 | 273 | 259 | 339 | 247 | 228 | 200 | KEN01 | start line, apparently rise at beginning of line, so radalt a little high
40331.5015 | [13 empty] | came down 100' to agree with radalt; good now
40331.5034 | [13 empty] | saved image(20) from first half of line, abovr very thin cloud now
40331.504 | [13 empty] | can't go down because of cloud right below us, about 100' high now as per radalt
40331.5054 | [13 empty] | 8017' radal, have to go up 100 '
40331.5056 | [13 empty] | decision to go down just below cloud to get better radalt; better up top
40331.5067 | [13 empty] | going back up; sold deck b elow us now, about 800' higher than what we would like
40331.5095 | 10029 |  | 261 | 247 | 261 | 249 | 283 | 279 | 339 | 243 | 239 | 208 | KEN02 | end of line; radalt 8327
poor design for turn, need 270, saved image(21)
40331.5115 | 10100 | [11 empty] | KEN03 | start line above cloud, radalt 8275
40331.5136 | [13 empty] | decision to stay up at 10000 entire line, radalt around 8300'
will do rest of lines at 1.3 offset, 10100 ' to stay above cloud
40331.517 |  |  | 254 | 233 | 254 | 236 | 279 | 271 | 339 | 233 | 235 | 207 | KEN03-KEN04 | saved image(22) half way down line; hlf line is cloud, half clear at the moment
40331.5226 | [12 empty] | KEN04 | end of line; radalt 8350, saved image(23) second half of line
rest of lines will be 1.3 offset?? Working on it with Matthew
40331.5239 | 10160 |  | 263 | 254 | 258 | 245 | 280 | 276 | 339 | 251 | 242 | 218 | KEN05 | start iine, will run entire line
[13 empty] | KEN05-KEN06 | can't recreate Peter's calculations
40331.5359 | 10353 | [11 empty] | KEN06 | end of line, saved image(24) | 21320
40331.5381 | 10428 |  | 264 | 254 | 265 | 256 | 283 | 280 | 339 | 241 | 234 | 204 | KEN07 | start next line, Matthew and I think the offset should be 1.2, not 1.3 - will run 1.2
|  |  | 262 | 244 | 262 | 250 | 282 | 278 | 339 | 220 | 224 | 201 | KEN07-KEN08 | cloud covering more of airspace ; radalt 8200' here
40331.5489 | 10296 | [11 empty] | KEN08 | end of line, save image(25)
40331.5505 | 10298 |  | 262 | 245 | 259 | 241 | 281 | 272 | 339 | 237 | 236 | 209 | KEN09 | start line, offset = 1.2, initially 8600' above ground
40331.5572 |  |  | 264 | 244 | 263 | 249 | 283 | 281 | 339 | 239 | 243 | 218 | KEN09-KEN10 | over deck now; picture
40331.5602 | [13 empty] | climbing to stay above cloud; up to palt 10.6K, radalt 8900
40331.5624 | 10549 | [11 empty] | KEN10 | end of line, save image(26)
40331.5644 |  |  | 260.7 | 245.5 | 263 | 253 | 283.5 | 282 | 339 | 246 | 235 | 205 | KEN11 | start of line about a minute back; 1.2 offset
40331.5661 | 10669 | [11 empty] | KEN11-KEN12 | have to stay high over top of cloud
40331.5718 | 10191 |  | 257 | 238 | 259 | 242 | 283 | 275 | 339 | 238 | 234 | 205 |  | had to reboot my laptop so n notes for a bit
40331.5746 | 10178 | [11 empty] | KEN12 | end of line, save image(27)
40331.5764 | 10180 | [11 empty] | KEN13 | start line, offset = 1.2, 8600 on radalt
40331.5806 | 10405 |  | 261 | 246 | 264 | 253 | 285 | 282 | 342 | 222 | 230 | 199 | KEN13-KEN14 | note change in 6.9V channel; radalt 8800
KT-19 is about 5 degrees colder than air temperature in cloud
40331.5886 | 10625 | [11 empty] | KEN14 | end of line, saving image(28)
40331.5902 | 10689 | -3.3 | 262 | 242 | 262 | 247 | 283 | 276 | 339 | 221 | 238 | 212 | KEN15 | start of line , 1.2 offset
1.4cabT1,2,3= 5.1/16.8/18.2; avg=13.3; ant1,2=-0.5,0
40331.5943 | [12 empty] | KEN15-KEN16 | still full undercast
40331.6008 | 10348 | [11 empty] | KEN16 | end of line, saving image(29), now 100% cloud cover over area; radalt 8600
40331.602 | 10528 |  | 263 | 246 | 265 | 255 | 286 | 280 | 339 | 234 | 232 | 203 | KEN17 | start line, offset = 1.2
40331.6062 |  |  | 266 | 249 | 265 | 252 | 285 | 282 | 339 | 246 | 246 | 223 | KEN17-KEN18 | just noticed that spectrum analyzer antenna had dropped, - repositioned it
G3 on our box, just starting
40331.6143 | 10639 | [11 empty] | KEN18 | end of line, saving image(30); radalt 8700
descending for over waterr run 33-34
cloud base 9500, 7300 agl
40331.6177 | 640 agl |  | 177.5 | 106 | 193 | 116 | 250 | 195 | 338 | 98 | 161 | 123 | KEN33-KEN34 | kjust past KEN33, on the line, some thin cloud above
KT19 side= 9.7, down = 10.5
40331.6203 | [12 empty] | KEN34 | my flight track geography is shifted a little south
40331.6224 | [13 empty] | transitting back to Saskatoon
40331.624 | 6660 | 3 | 271 | 251 | 270 | 255 | 285 | 270 | 339 | 196 | 248 | 221 | to YXE | Paul thought it would sctter out and we would be able to work our nominal altitude
this afternoon
1.4cabT1,2,3= 8.7, 16.3, 17.0; avg=14.0; ant1,2=-05.4, 5.7
40331.6368 | [13 empty] | touchdown Saskatoon, clear skies
offset on radalt is 15 feet

## problems
CanEX-SM10 Notes and Problems
crew: | STRAPP | date: _________2-Jun-2010a
Flight #: ______n/a
fml 1520, fml 83
time | stamp | Problems
40331.4809 |  | bad NRC time again
40331.4811 | ; | NRC KT19 down not transferred to us properly, but recorded to NRC system
using 40 degrees on footprint, timestamp fixed on video
|  | KT19 - side seems a little too cold at high altitude when compared to temperatures in cloud - should do a calibration | 208
need to check Peter Toose's offset calculations - Matthew and I get different values
didn't use pump - pump caused M300 to creash because of mouse vibration duing morning cal
Hradalt first flight, not recorded, just displayed, looks good
21320

## flight-points
FLIGHT 1
Flight Segment Description | Segment Length (km) | Start Latitude (N) | Start Longitude (W) | Name | End Latitude (N) | End Longitude (W) | Name | Segment Air Time | Nautical Mile Offset | Desired Alt. above gnd (ft) | terrain altitude (m) | terrain altitude (ft) | GPSAlt (ft) | GPSAlt (m)
YXE to CKJ4 | 63 | 52.1667 | -106.68 | YXE | 51.6242 | -106.4422 | CKJ4 | 0.30919 | - | -
CKJ4 to KEN01 | 40 | 51.6242 | -106.4422 | CKJ4 | 51.6744 | -105.8737 | KEN01 | 0.19631 | - | -
KEN01 to KEN02 | 71 | 51.6744 | -105.8737 | KEN01 | 51.3755 | -106.7741 | KEN02 | 0.34845 | 1.2 | 7680 | 618 | 2027.04 | 9707.04 | 2959.4634
KEN03 to KEN04 | 71 | 51.3919 | -106.7883 | KEN03 | 51.6909 | -105.8876 | KEN04 | 0.34845 | 1.2 | 7680 | 615 | 2017.2 | 9697.2 | 2956.4634
KEN05 to KEN06 | 71 | 51.6414 | -105.8459 | KEN05 | 51.3428 | -106.7459 | KEN06 | 0.34845 | 1.2 | 7680 | 622 | 2040.16 | 9720.16 | 2963.4634
KEN07 to KEN08 | 71 | 51.3592 | -106.76 | KEN07 | 51.6579 | -105.8598 | KEN08 | 0.34845 | 1.2 | 7680 | 620 | 2033.6 | 9713.6 | 2961.4634
KEN09 to KEN10 | 71 | 51.6084 | -105.8182 | KEN09 | 51.31 | -106.7177 | KEN10 | 0.34845 | 1.2 | 7680 | 620 | 2033.6 | 9713.6 | 2961.4634
KEN11 to KEN12 | 71 | 51.3264 | -106.7318 | KEN11 | 51.6249 | -105.832 | KEN12 | 0.34845 | 1.2 | 7680 | 620 | 2033.6 | 9713.6 | 2961.4634
KEN13 to KEN14 | 71 | 51.5754 | -105.7904 | KEN13 | 51.2772 | -106.6895 | KEN14 | 0.34845 | 1.2 | 7680 | 622 | 2040.16 | 9720.16 | 2963.4634
KEN15 to KEN16 | 71 | 51.2936 | -106.7036 | KEN15 | 51.5919 | -105.8043 | KEN16 | 0.34845 | 1.2 | 7680 | 620 | 2033.6 | 9713.6 | 2961.4634
KEN17 to KEN18 | 71 | 51.5423 | -105.7628 | KEN17 | 51.2444 | -106.6613 | KEN18 | 0.34845 | 1.2 | 7680 | 624 | 2046.72 | 9726.72 | 2965.4634
KEN18 to KEN33 | 15 | 51.2444 | -106.6613 | KEN18 | 51.1304 | -106.765 | KEN33 | 0.073616 | 1.2 | descend
KEN33 to KEN34 | 18 | 51.1304 | -106.765 | KEN33 | 51.2769 | -106.8611 | KEN34 | 0.088339 | 0.1 | 640 |  |  |  | radalt
KEN18 to CKJ4 | 49 | 51.2769 | -106.8611 | KEN34 | 51.6242 | -106.4422 | CKJ4 | 0.24048 | - | -
CKJ4-YXE | 63 | 52.1667 | -106.68 | YXE | 51.6242 | -106.4422 | CKJ4 | 0.30919 | - | -
FLIGHT 2
Flight Segment Description | Segment Length (km) | Start Latitude (N) | Start Longitude (W) | Name | End Latitude (N) | End Longitude (W) | Name | Segment Air Time | Nautical Mile Offset | Desired Alt. above gnd (ft) | terrain altitude (m) | terrain altitude (ft) | GPSAlt (ft) | GPSAlt (m)
YXE to CKJ4 | 63 | 52.1667 | -106.68 | YXE | 51.6242 | -106.4422 | CKJ4 | 0.30919 | - | -
CKJ4 to KEN09 | 85 | 51.6242 | -106.4422 | CKJ4 | 51.6084 | -105.8182 | KEN09 | 0.41716 | - | -
KEN09 to KEN10 *R* | 71 | 51.6084 | -105.8182 | KEN09 | 51.31 | -106.7177 | KEN10 | 0.34845 | 1.2 | 7680 | 620 | 2033.6 | 9713.6 | 2961.4634
KEN19 to KEN20 | 71 | 51.2608 | -106.6754 | KEN19 | 51.5588 | -105.7766 | KEN20 | 0.34845 | 1.2 | 7680 | 623 | 2043.44 | 9723.44 | 2964.4634
KEN21 to KEN22 | 71 | 51.5093 | -105.7351 | KEN21 | 51.2115 | -106.6332 | KEN22 | 0.34845 | 1.2 | 7680 | 621 | 2036.88 | 9716.88 | 2962.4634
KEN23 to KEN24 | 71 | 51.228 | -106.6473 | KEN23 | 51.5258 | -105.7489 | KEN24 | 0.34845 | 1.2 | 7680 | 622 | 2040.16 | 9720.16 | 2963.4634
KEN25 to KEN26 | 71 | 51.4763 | -105.7075 | KEN25 | 51.1787 | -106.6052 | KEN26 | 0.34845 | 1.2 | 7680 | 619 | 2030.32 | 9710.32 | 2960.4634
KEN27 to KEN28 | 71 | 51.1951 | -106.6192 | KEN27 | 51.4928 | -105.7213 | KEN28 | 0.34845 | 1.2 | 7680 | 620 | 2033.6 | 9713.6 | 2961.4634
KEN29 to KEN30 | 71 | 51.4432 | -105.68 | KEN29 | 51.1459 | -106.5772 | KEN30 | 0.34845 | 1.2 | 7680 | 613 | 2010.64 | 9690.64 | 2954.4634
KEN31 to KEN32 | 71 | 51.1623 | -106.5912 | KEN31 | 51.4597 | -105.6937 | KEN32 | 0.34845 | 1.2 | 7680 | 616 | 2020.48 | 9700.48 | 2957.4634
KEN29 to KEN30 *R* | 71 | 51.4432 | -105.68 | KEN29 | 51.1459 | -106.5772 | KEN30 | 0.34845 | 1.2 | 7680 | 613 | 2010.64 | 9690.64 | 2954.4634
KEN30 to KEN33 | 15 | 51.1459 | -106.5772 | KEN30 | 51.1304 | -106.765 | KEN33 | 0.073616 | 1.2 | descend
KEN33 to KEN34 | 18 | 51.1304 | -106.765 | KEN33 | 51.2769 | -106.8611 | KEN34 | 0.088339 | 0.1 | 640
KEN32 to CKJ4 | 49 | 51.4597 | -105.6937 | KEN32 | 51.6242 | -106.4422 | CKJ4 | 0.24048 | - | -
CKJ4 to YXE | 63 | 51.6242 | -106.4422 | CKJ4 | 52.1667 | -106.68 | YXE | 0.30919 | - | -

## flight-points-1June
FLIGHT 1
Flight Segment Description | Segment Length (km) | Start Latitude (N) | Start Longitude (W) | Name | End Latitude (N) | End Longitude (W) | Name | Segment Air Time | Nautical Mile Offset | Desired Alt. above gnd (ft) | terrain altitude (m) | terrain altitude (ft) | GPSAlt (ft) | GPSAlt (m)
YXE to CKJ4 | 63 | 52.1667 | -106.68 | YXE | 51.6242 | -106.4422 | CKJ4 | 0.30919 | - | -
CKJ4 to KEN03 | 40 | 51.6242 | -106.4422 | CKJ4 | 51.6744 | -105.8737 | KEN01 | 0.19631 | - | -
KEN03 to KEN04 | 71 | 51.3919 | -106.7883 | KEN03 | 51.6909 | -105.8876 | KEN04 | 0.34845 | 1.2 | 7680 | 615 | 2017.2 | 9697.2 | 2956.4634
KEN09 to KEN10 | 71 | 51.6084 | -105.8182 | KEN09 | 51.31 | -106.7177 | KEN10 | 0.34845 | 1.2 | 7680 | 620 | 2033.6 | 9713.6 | 2961.4634
KEN23 to KEN24 | 71 | 51.228 | -106.6473 | KEN23 | 51.5258 | -105.7489 | KEN24 | 0.34845 | 1.2 | 7680 | 622 | 2040.16 | 9720.16 | 2963.4634
KEN29 to KEN30 | 71 | 51.4432 | -105.68 | KEN29 | 51.1459 | -106.5772 | KEN30 | 0.34845 | 1.2 | 7680 | 613 | 2010.64 | 9690.64 | 2954.4634
KEN30 to KEN33 | 15 | 51.1459 | -106.5772 | KEN30 | 51.1304 | -106.765 | KEN33 | 0.073616 | 1.2 | descend
KEN33 to KEN34 | 18 | 51.1304 | -106.765 | KEN33 | 51.2769 | -106.8611 | KEN34 | 0.088339 | 0.1 | 640
KEN34 to CKJ4 | 49 | 51.4597 | -105.6937 | KEN32 | 51.6242 | -106.4422 | CKJ4 | 0.24048 | - | -
CKJ4 to YXE | 63 | 51.6242 | -106.4422 | CKJ4 | 52.1667 | -106.68 | YXE | 0.30919 | - | -
2.6109

## footprint-calc
offset | 1.2
angle | 40
altitude-calc | 8695.3978
or
alt-agl-ft | 7660
angle | 40 | at 55 deg | at 25 deg | swath-nm | swath-km
offset-nm-calc | 1.0571 | 1.8 | 0.58 | 1.22 | 2.257
7551.2665